File Name:		SSM4540_7.1.2_B.a37

Firmware ID:	SSM4540_7.1.02-CM.a37

Device: 		FX16 controller (plus)

Release date:	March 6, 2009

Release reason:	Enhancement

Issue Document:	LO1658-09

Added XM modules management

File Name:		SSM4540_5.2.5_B.a37

Firmware ID:	SSM_4540_05205-CM.a37

Device: 		FX16 controller (plus)

Release date:	November 16, 2007

Release reason:	Bug Fixing

Following issues have been fixed

| CQ Number | Description |
| --- | --- |
| NEWPR00001357 | Local display: change of “date format” parameter was no taken after a power cycle |
| NEWPR00001364 | Local display: problem of visualization of the contacts parameters |
| NEWPR00001365 | Trend: at trend upload, units of measure were not correctly saved |
| NEWPR00001610 | Local display: UP arrow didn’t work correctly in scheduler page |
| NEWPR00001692 | Application: SNVT 9 type was not correctly supported |
| NEWPR00001734 | Old N2 card didn’t work with FX16+ |
| NEWPR00002269 (PT137945/138134) | Local communication failed when MUI was connected |
| NEWPR00002377 | Local communication with slave was sometimes lost (similar problem found on MD) |
| NEWPR00002453 | MUI: event history page visualization improvement (similar problem found on FX16 standard) |
| NEWPR00002455 | TREND: email trend periodic notification improvement (similar problem found on FX16 standard) |
| NEWPR00002484 (PT138418) | VSD DEVICE: implementation of the possibility to pilot a VSD device (branded cutler Hammer) on the local bus as virtual XT/XP |
| NEWPR00002514 | OBJECT: USD time zones were not properly defined on new clock and date set object |
| NEWPR00002651 | Change of a SNVT105 is not communicated as far as it is less than 0,5°C |

File Name:		SSM4540_5.0.0.41_B.a37

Firmware ID:	Fx16P_8-500-41.a37

Device: 		FX16Plus controller

Release date:	October 13, 2006

Release reason:	Release to Production

Issue document:	LO1466-06

Features list

Known defects: